## Slide 1
Hi-Tech Control System
Inverter 7
Inverter 5
Inverter 1
Inverter 2
Inverter 3
Inverter 4
PV Controller
Client’s 3xCTs
HT Panel
EMS DB
Switch
Energy
Analyzer
Datalogger
Internet
Energy
Analyzer
Energy
Analyzer
Energy
Analyzer
Genset 3
Genset 2
Genset 1
Inverter 6
Inverter 8 (33kW)
Legends
RS-485 Protocol
TCP-IP
CAT 6